## Tender Ref
Notice identifier: 2026/S 000-017934
Procurement identifier (OCID): ocds-h6vhtk-065e43

## RLI
Contract Equipment Schedule Royal Lancaster Infirmary
Equipment Type | Quantity | Equipment Type | Quantity
Pipeline Equipment |  | Associated Equipment
Terminal Units 4 Visits per Year | 580 | Local Alarm General Check | 60
General Area Terminal Units 25% per Visit - LIST THE FULL ANNUAL AMMOUNT | 1100 | Local Alarm Low Press Check Only
Essential Area Tus out of hrs |  | Local Alarm Full System Check
AGSS Terminal Units | 34 | Plant Alarm General Check | 12
AGSS Full Recommission per TU |  | Plant Alarm Full System Check 1 Gas
Plant Alarm Full System Check 2 Gas
Medical Air Systems |  | Plant Alarm Full System Check 3 Gas
Medical Air Plant Simplex | 1 | Plant Alarm Full System Check 4 Gas
Medical Air Plant Duplex |  | Plant Alarm Full System Check 5 Gas
Medical Air Plant Triplex | 1 | AVSU's | 155
Medical Air Plant Quadrupal |  | AVSU Soap Tset Only
Simplex Reducing Set | 2 | AVSU's valve tightness Test
Duplex Reducing Set | 5 | Fixed Boom
Air Quality test |  | Single Multiple Movement Boom
Oil water seperator | 2 | Double Multi Movement Boom
Dewpoint meter | 1
Duplex dryer only
Simplex Compressor only | 1 | Pathology Syetems
Cylinder Mounted Regulator
Medical Vacuum Systems |  | Simplex Manual Manifold
Medical Vacuum Simplex |  | Duplex Manual Manifold | 2
Medical Vacuum Duplex | 2 | Semi Automatic Manifold
Medical Vacuum Triplex | 1 | Automatic Manifold
Medical Vacuum Quadrupal |  | Peopane Gas System
Simplex Dental Vacuum Plant |  | Acetylene Manifold
Duplex Dental Vacuum Plant |  | End of Line Regulator
Flashback Arrestor
Manifold Systems |  | Slamshut
Simplex Regulator |  | Labatory Taps | 4
Manual Manifold |  | Simplex Laboratory vacuum plant
Semi/Auto Manifold |  | Duplex Laboratory Vacuun Plant
Auto Manifold | 5 | Simplex Laboratory Air Plant
Auto Manifold c/w ESM |  | Duplex Laboratory Air Plant
Pipeline System
AGSS Systems |  | Plant Alarm | 1
AGSS Simplex Pump | 9
AGSS Duplex Pump | 4
Passive System
Remote Switch
Purair 750
Reciever Unit/Air Brake

## Pathology
Contract Equipment Schedule Royal Lancaster Infirmary - Pathology
Equipment Type | Quantity | Equipment Type | Quantity
Pipeline Equipment |  | Associated Equipment
Terminal Units 4 Visits per Year |  | Local Alarm General Check
General Area Terminal Units 25% per Visit - LIST THE FULL ANNUAL AMMOUNT |  | Local Alarm Low Press Check Only
Essential Area Tus out of hrs |  | Local Alarm Full System Check
AGSS Terminal Units |  | Plant Alarm General Check
AGSS Full Recommission per TU |  | Plant Alarm Full System Check 1 Gas
Plant Alarm Full System Check 2 Gas
Medical Air Systems |  | Plant Alarm Full System Check 3 Gas
Medical Air Plant Simplex |  | Plant Alarm Full System Check 4 Gas
Medical Air Plant Duplex |  | Plant Alarm Full System Check 5 Gas
Medical Air Plant Triplex |  | AVSU's
Medical Air Plant Quadrupal |  | AVSU Soap Tset Only
Simplex Reducing Set |  | AVSU's valve tightness Test
Duplex Reducing Set |  | Fixed Boom
Air Quality test |  | Single Multiple Movement Boom
Oil water seperator |  | Double Multi Movement Boom
Dewpoint meter
Duplex dryer only
Simplex Compressor only |  | Pathology Syetems
Cylinder Mounted Regulator
Medical Vacuum Systems |  | Simplex Manual Manifold
Medical Vacuum Simplex |  | Duplex Manual Manifold
Medical Vacuum Duplex |  | Semi Automatic Manifold
Medical Vacuum Triplex |  | Automatic Manifold | 2
Medical Vacuum Quadrupal |  | Peopane Gas System
Simplex Dental Vacuum Plant |  | Acetylene Manifold
Duplex Dental Vacuum Plant |  | End of Line Regulator | 4
Flashback Arrestor
Manifold Systems |  | Slamshut
Simplex Regulator |  | Labatory Taps
Manual Manifold |  | Simplex Laboratory vacuum plant
Semi/Auto Manifold |  | Duplex Laboratory Vacuun Plant
Auto Manifold |  | Simplex Laboratory Air Plant
Auto Manifold c/w ESM |  | Duplex Laboratory Air Plant
Pipeline System
AGSS Systems |  | Plant Alarm
AGSS Simplex Pump
AGSS Duplex Pump
Passive System
Remote Switch
Purair 750
Reciever Unit/Air Brake

## Maternity
Contract Equipment Schedule Royal Lancaster Infirmary - Maternity
Equipment Type | Quantity | Equipment Type | Quantity
Pipeline Equipment |  | Associated Equipment
Terminal Units 4 Visits per Year | 90 | Local Alarm General Check | 3
General Area Terminal Units 25% per Visit - LIST THE FULL ANNUAL AMMOUNT |  | Local Alarm Low Press Check Only
Essential Area Tus out of hrs |  | Local Alarm Full System Check
AGSS Terminal Units | 4 | Plant Alarm General Check
AGSS Full Recommission per TU | 4 | Plant Alarm Full System Check 1 Gas
Plant Alarm Full System Check 2 Gas
Medical Air Systems |  | Plant Alarm Full System Check 3 Gas
Medical Air Plant Simplex |  | Plant Alarm Full System Check 4 Gas
Medical Air Plant Duplex |  | Plant Alarm Full System Check 5 Gas
Medical Air Plant Triplex |  | AVSU's | 17
Medical Air Plant Quadrupal |  | AVSU Soap Tset Only
Simplex Reducing Set |  | AVSU's valve tightness Test
Duplex Reducing Set |  | Fixed Boom
Air Quality test |  | Single Multiple Movement Boom
Oil water seperator |  | Double Multi Movement Boom
Dewpoint meter
Duplex dryer only
Simplex Compressor only |  | Pathology Syetems
Cylinder Mounted Regulator
Medical Vacuum Systems |  | Simplex Manual Manifold
Medical Vacuum Simplex |  | Duplex Manual Manifold
Medical Vacuum Duplex |  | Semi Automatic Manifold
Medical Vacuum Triplex |  | Automatic Manifold
Medical Vacuum Quadrupal |  | Peopane Gas System
Simplex Dental Vacuum Plant |  | Acetylene Manifold
Duplex Dental Vacuum Plant |  | End of Line Regulator
Flashback Arrestor
Manifold Systems |  | Slamshut
Simplex Regulator |  | Labatory Taps
Manual Manifold |  | Simplex Laboratory vacuum plant
Semi/Auto Manifold |  | Duplex Laboratory Vacuun Plant
Auto Manifold |  | Simplex Laboratory Air Plant
Auto Manifold c/w ESM |  | Duplex Laboratory Air Plant
Pipeline System
AGSS Systems |  | Plant Alarm
AGSS Simplex Pump
AGSS Duplex Pump
Passive System
Remote Switch
Purair 750
Reciever Unit/Air Brake

## FGH
Contract Equipment Schedule - Furness General Hospital
Equipment Type | Quantity | Equipment Type | Quantity
Pipeline Equipment |  | Associated Equipment
Terminal Units 4 Visits per Year | 390 | Local Alarm General Check | 28
General Area Terminal Units 25% per Visit - LIST THE FULL ANNUAL AMMOUNT | 661 | Local Alarm Low Press Check Only
Essential Area Tus out of hrs |  | Local Alarm Full System Check
AGSS Terminal Units | 25 | Plant Alarm General Check | 4
AGSS Full Recommission per TU | 25 | Plant Alarm Full System Check 1 Gas
Plant Alarm Full System Check 2 Gas
Medical Air Systems |  | Plant Alarm Full System Check 3 Gas
Medical Air Plant Simplex |  | Plant Alarm Full System Check 4 Gas
Medical Air Plant Duplex | 1 | Plant Alarm Full System Check 5 Gas
Medical Air Plant Triplex | 1 | AVSU's | 170
Medical Air Plant Quadrupal |  | AVSU Soap Tset Only
Simplex Reducing Set |  | AVSU's valve tightness Test
Duplex Reducing Set | 1 | Fixed Boom
Air Quality test |  | Single Multiple Movement Boom
Oil water seperator |  | Double Multi Movement Boom
Dewpoint meter
Duplex dryer only
Simplex Compressor only |  | Pathology Syetems
Cylinder Mounted Regulator
Medical Vacuum Systems |  | Simplex Manual Manifold
Medical Vacuum Simplex |  | Duplex Manual Manifold
Medical Vacuum Duplex | 1 | Semi Automatic Manifold
Medical Vacuum Triplex |  | Automatic Manifold
Medical Vacuum Quadrupal |  | Peopane Gas System
Simplex Dental Vacuum Plant |  | Acetylene Manifold
Duplex Dental Vacuum Plant |  | End of Line Regulator
Flashback Arrestor
Manifold Systems |  | Slamshut
Simplex Regulator | 2 | Labatory Taps
Manual Manifold |  | Simplex Laboratory vacuum plant
Semi/Auto Manifold |  | Duplex Laboratory Vacuun Plant
Auto Manifold | 3 | Simplex Laboratory Air Plant
Auto Manifold c/w ESM | 2 | Duplex Laboratory Air Plant
Pipeline System
AGSS Systems |  | Plant Alarm
AGSS Simplex Pump
AGSS Duplex Pump | 2
Passive System
Remote Switch
Purair 750
Reciever Unit/Air Brake

## WGH
Contract Equipment Schedule - Westmoreland Hospital
Equipment Type | Quantity | Equipment Type | Quantity
Pipeline Equipment |  | Associated Equipment
Terminal Units 4 Visits per Year | 149 | Local Alarm General Check | 26
General Area Terminal Units 25% per Visit - LIST THE FULL ANNUAL AMMOUNT | 284 | Local Alarm Low Press Check Only
Essential Area Tus out of hrs |  | Local Alarm Full System Check
AGSS Terminal Units | 15 | Plant Alarm General Check | 13
AGSS Full Recommission per TU | 15 | Plant Alarm Full System Check 1 Gas
Plant Alarm Full System Check 2 Gas
Medical Air Systems |  | Plant Alarm Full System Check 3 Gas
Medical Air Plant Simplex |  | Plant Alarm Full System Check 4 Gas
Medical Air Plant Duplex | 1 | Plant Alarm Full System Check 5 Gas
Medical Air Plant Triplex | 1 | AVSU's | 75
Medical Air Plant Quadrupal |  | AVSU Soap Tset Only
Simplex Reducing Set |  | AVSU's valve tightness Test
Duplex Reducing Set | 2 | Fixed Boom
Air Quality test |  | Single Multiple Movement Boom
Oil water seperator |  | Double Multi Movement Boom
Dewpoint meter
Duplex dryer only
Simplex Compressor only |  | Pathology Syetems
Cylinder Mounted Regulator
Medical Vacuum Systems |  | Simplex Manual Manifold
Medical Vacuum Simplex |  | Duplex Manual Manifold
Medical Vacuum Duplex | 2 | Semi Automatic Manifold
Medical Vacuum Triplex | 1 | Automatic Manifold
Medical Vacuum Quadrupal |  | Peopane Gas System
Simplex Dental Vacuum Plant | 1 | Acetylene Manifold
Duplex Dental Vacuum Plant |  | End of Line Regulator
Flashback Arrestor
Manifold Systems |  | Slamshut
Simplex Regulator |  | Labatory Taps
Manual Manifold |  | Simplex Laboratory vacuum plant
Semi/Auto Manifold | 1 | Duplex Laboratory Vacuun Plant
Auto Manifold | 3 | Simplex Laboratory Air Plant
Auto Manifold c/w ESM | 5 | Duplex Laboratory Air Plant
Pipeline System
AGSS Systems |  | Plant Alarm
AGSS Simplex Pump | 1
AGSS Duplex Pump | 3
Passive System
Remote Switch
Purair 750
Reciever Unit/Air Brake

## Millom
Contract Equipment Schedule - Millom Hospital
Equipment Type | Quantity | Equipment Type | Quantity
Pipeline Equipment |  | Associated Equipment
Terminal Units 4 Visits per Year | 20 | Local Alarm General Check | 1
General Area Terminal Units 25% per Visit - LIST THE FULL ANNUAL AMMOUNT |  | Local Alarm Low Press Check Only
Essential Area Tus out of hrs |  | Local Alarm Full System Check
AGSS Terminal Units |  | Plant Alarm General Check | 3
AGSS Full Recommission per TU |  | Plant Alarm Full System Check 1 Gas
Plant Alarm Full System Check 2 Gas
Medical Air Systems |  | Plant Alarm Full System Check 3 Gas
Medical Air Plant Simplex |  | Plant Alarm Full System Check 4 Gas
Medical Air Plant Duplex |  | Plant Alarm Full System Check 5 Gas
Medical Air Plant Triplex |  | AVSU's | 2
Medical Air Plant Quadrupal |  | AVSU Soap Tset Only
Simplex Reducing Set |  | AVSU's valve tightness Test
Duplex Reducing Set |  | Fixed Boom
Air Quality test |  | Single Multiple Movement Boom
Oil water seperator |  | Double Multi Movement Boom
Dewpoint meter
Duplex dryer only
Simplex Compressor only |  | Pathology Syetems
Cylinder Mounted Regulator
Medical Vacuum Systems |  | Simplex Manual Manifold
Medical Vacuum Simplex |  | Duplex Manual Manifold
Medical Vacuum Duplex | 1 | Semi Automatic Manifold
Medical Vacuum Triplex |  | Automatic Manifold
Medical Vacuum Quadrupal |  | Peopane Gas System
Simplex Dental Vacuum Plant |  | Acetylene Manifold
Duplex Dental Vacuum Plant |  | End of Line Regulator
Flashback Arrestor
Manifold Systems |  | Slamshut
Simplex Regulator |  | Labatory Taps
Manual Manifold |  | Simplex Laboratory vacuum plant
Semi/Auto Manifold |  | Duplex Laboratory Vacuun Plant
Auto Manifold | 1 | Simplex Laboratory Air Plant
Auto Manifold c/w ESM |  | Duplex Laboratory Air Plant
Pipeline System
AGSS Systems |  | Plant Alarm
AGSS Simplex Pump
AGSS Duplex Pump
Passive System
Remote Switch
Purair 750
Reciever Unit/Air Brake